USE OF OSCILLOSCOPE

Manual Lab Experiment

Report# 11

Subject:

EET 105

Prof.:

Y. Dathari

Date:

December, 04,2008

2008

Made by Piter Garcia

12/2/2008

| Table 2 |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S1# | Wave Form | Freq | Period | Ampl | Ch A Volts/Div | # of Divs vert | # of Divs Horz | Time/Div | T |
| 1 | Sine | 1kHZ |  | 2V |  |  |  |  |  |
| 2 | Triangular |  | 50µs | 5V |  |  |  |  |  |
| 3 | Square | 10kHz |  | 500mV |  |  |  |  |  |
| 4 | Sine |  | 25µS | 3.3V |  |  |  |  |  |
| 5 | Triangular | -50kHz |  | 7.6V |  |  |  |  |  |
| 6 | Sine |  | 5µS | 1V |  |  |  |  |  |
|  | Square | 25kHz |  | 4V |  |  |  |  |  |
|  | Sine | - | 100µS | 2.2V |  |  |  |  |  |

| Table 1 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| S1# | Volts Pwr. Supp | Ch A Volts/Div | # of divs Display moves | Up/Down | Volts measured from scope | % error |
| 1 | 1V | .5V | 1.2 | Up | 1.007V |  |
| 2 | 2V | .5V | 2.3 | Up | 2.069V |  |
| 3 | 5V | 1V | 3.1 | Up | 5.069V |  |
| 4 | 6V | 2V | 2 | UP | 6.043V |  |
| 5 | -3V | 1V | 1.3 | Down | -3.045V |  |
| 6 | -5V | 1V | 1.3 | Down | -5.021V |  |

Assigment for Lab 11

Mention the frequency dial and multiplier setting for generating following frequencies using a function generator.

- 1khz							2. 	500 Hz

- 8.333 khz						 4. 	33khz

B. Calculate the frequency of waveforms if the period is

- 1ms					2.	1µs				3.  5µs

- 17µs					5.   	20ms

C.  Mention the most apporpriate Volts/Div setting to measure the following voltage amplitude.  Assume the refrence line is in the center of the scope.

- 500mV				2. 	4.2 V			3.  	15V

- 10V 					5. 	10V

D. Mention the most apporpriate time/Div setting to measure the frequencis given below.

1.	1khz					2.	500Hz			3. 8.33khz

4. 	33khz					5.	 1.2 Mhz

This experiment is based on the use of the oscilloscope.  The information set in the boxes was obtained through the oscilloscope, measuring, frequency and time across the diagram.  This experiment was divided in two parts to measure the sketch, which are measurement of waveform characteristics and D.C. Voltages.  These two work in different ways so they have to measure separately.  Finally, this experiment was useful to know how an oscilloscope works, and also to know their functions and how to use them.